{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["报名表","清单"],"not_rendered":{"defined_names":1},"read":"whole","date_system":"1900"}

{"sheet":"报名表","index":0,"n_rows":9,"n_cols":1,"rows_kept":9,"merged":[[0,0,0,1]]}
["濮阳市自来水公司\n高压电气设备预防性试验项目厂商报名表"]
["单位名称（盖章）"]
["报名日期"]
["单位资质"]
["          拟报价格\n（报价为本次试验项目总价，包含电气设备试验项目清单所有试验项目及相关人、试验设备及交通费用等。）"]
["项目完成周期"]
["联系人"]
["联系电话"]
["其他说明"]

{"sheet":"清单","index":1,"n_rows":112,"n_cols":5,"rows_kept":112,"merged":[[0,0,1,4],[3,0,26,0],[3,1,6,1],[7,1,10,1],[14,1,19,1],[20,1,25,1],[27,0,47,0],[27,1,28,1],[29,1,32,1],[35,1,36,1],[38,1,43,1],[44,1,46,1],[48,0,79,0],[48,1,50,1],[52,1,53,1],[54,1,55,1],[56,1,64,1],[65,1,68,1],[69,1,78,1],[80,0,95,0],[80,1,81,1],[83,1,84,1],[85,1,86,1],[87,1,90,1],[91,1,94,1],[96,0,111,0],[96,1,97,1],[99,1,100,1],[101,1,102,1],[103,1,106,1],[107,1,110,1]]}
["高压电气设备预防性试验设备清单"]
[]
["单位名称","分类","设备","是否做试验","备注"]
["水源厂","变压器（4台）","35KV 1000KVA 1#变压器","√"]
[null,null,"35KV 1000KVA 2#变压器","√"]
[null,null,"预沉池 6KV 变压器","√"]
[null,null,"35KV站用变100KVA","√"]
[null,"断路器（4台）","户外SF6断路器 八渠3","√"]
[null,null,"户外SF6断路器 1#主变351断路器","√"]
[null,null,"户外SF6断路器 2#主变352断路器","√"]
[null,null,"6KV 柱上高压断路器","√"]
[null,"电压互感器\n（1组）","35KV电压互感器1组","√"]
[null,"避雷器（1组）","35KV避雷器1组","√"]
[null,"高压柜（9面）","10KV高压柜9面","√"]
[null,"10KV电缆（6条）","10KV高压电缆 2#主变到10KV高压柜","√"]
[null,null,"10KV高压电缆 1#主变到10KV高压柜","√"]
[null,null,"2#变压器6KV出口到架空线之间的电缆","√"]
[null,null,"10KV高压电缆 \n高压柜到1#高压同步电机","√"]
[null,null,"10KV高压电缆 \n高压柜到2#高压同步电机","√"]
[null,null,"10KV高压电缆 \n高压柜到3#高压异步电机","√"]
[null,"   继电保护\n   （6套）","35KV常规保护1套 八渠3进线","√"]
[null,null,"35KV常规保护1套 2#变压器","√"]
[null,null,"35KV常规保护1套 1#变压器","√"]
[null,null,"高压同步电机出线保护1套 1#电机","√"]
[null,null,"高压同步电机出线保护1套 2#电机","√"]
[null,null,"高压同步电机出线保护1套 3#电机","√"]
[null,"220V直流（1套）","直流电池组","√"]
["\n\n\n\n\n\n\n\n\n二水源厂","变压器\n（2台）","35KV1#变压器  630KVA 1台","√","新变压器购置后再试验"]
[null,null,"35KV变压器  100KVA站用变1台","√"]
[null,"真空断路器\n（4台）","35KV庆状线 2#进线真空断路器","√"]
[null,null,"1#主变351真空断路器","√"]
[null,null,"35KV站用变 真空断路器","√"]
[null,null,"母联350真空断路器","√"]
[null,"母线","室内35KV高压母线","√"]
[null,"高压柜\n（8面）","35KV高压柜","√","1#进线，1#计量，352不做"]
[null,"电压互感器\n（2组）","35KV电压互感器 1#YH","√"]
[null,null,"35KV电压互感器 2#YH","√"]
[null,"避雷器（1组）","避雷器 ","√"]
[null,"高压电缆\n（35KV 2条，10KV 4条）","35KV站变电缆","√"]
[null,null,"351断路器到1#主变高压电缆","√"]
[null,null,"1#主变10KV侧到环网柜高压电缆","√"]
[null,null,"10KV东南线高压电缆","√"]
[null,null,"10KV西线高压电缆","√"]
[null,null,"10KV北线高压电缆","√"]
[null,"继电保护（3套）","35KV庆状线2#进线保护","√"]
[null,null,"1#变压器（351、101）保护","√"]
[null,null,"35KV站变断路器保护","√"]
[null,"220V直流（1套）","直流电池组","√"]
["二水厂","变压器\n（3台）","10KV 500KVA变压器1台","√"]
[null,null,"10KV 630KVA变压器1台\n（干式变压器）","√"]
[null,null,"10KV 630KVA变压器1台\n（干式变压器、备用）","√"]
[null,"高压柜（15面）","10KV高压柜 ","√","含电压感器和计量柜"]
[null,"计量柜\n（2组）","1#计量","√"]
[null,null,"2#计量","√"]
[null,"电压互感器\n（2组）","1#电压互感器、避雷器","√"]
[null,null,"2#电压互感器、避雷器","√"]
[null,"10KV电缆\n（9条）","1#进线电缆","√"]
[null,null,"2#进线电缆","√"]
[null,null,"开关柜到1#变压器高压电缆","√"]
[null,null,"开关柜到2#变压器高压电缆","√"]
[null,null,"开关柜到3#变压器高压电缆","√"]
[null,null,"开关柜到2#高压电机的高压电缆","√"]
[null,null,"开关柜到3#高压电机的高压电缆","√"]
[null,null,"开关柜到4#高压电机的高压电缆","√"]
[null,null,"开关柜到5#高压电机的高压电缆","√"]
[null,"\n电容器\n（4组）\n","2#高压电容器","√"]
[null,null,"3#高压电容器","√"]
[null,null,"4#高压电容器","√"]
[null,null,"5#高压电容器","√"]
[null,"继电保护\n（10套）","1#进线保护","√"]
[null,null,"2#进线保护","√"]
[null,null,"500KVA变压器保护","√"]
[null,null,"630KVA变压器保护（干变）","√"]
[null,null,"630KVA变压器保护（干变、备用）","√"]
[null,null,"母联100保护","√"]
[null,null,"2#高压电机保护","√"]
[null,null,"3#高压电机保护","√"]
[null,null,"4#高压电机保护"]
[null,null,"5#高压电机的保护","√"]
[null,"220V直流（1套）","直流电池组","√"]
["水厂","变压器\n（2台）","10KV 1600KVA变压器1台","√"]
[null,null,"10KV 1000KVA变压器1台","√"]
[null,"高压柜（9面）","10KV高压柜 ","√","含电压感器和计量柜"]
[null,"电压互感器\n（2组）","1#电压互感器、避雷器","√"]
[null,null,"2#电压互感器、避雷器","√"]
[null,"计量柜\n（2组）","1#计量","√"]
[null,null,"2#计量","√"]
[null,"10KV电缆\n（4条）","10KV1#进线电缆","√"]
[null,null,"10KV2#进线电缆","√"]
[null,null,"开关柜到1#变压器电缆","√"]
[null,null,"开关柜到2#变压器电缆","√"]
[null,"继电保护（3套）","10KV1#进线保护","√"]
[null,null,"10KV2#进线保护","√"]
[null,null,"1#变压器保护","√"]
[null,null,"2#变压器保护","√"]
[null,"220V直流（1套）","直流电池组","√"]
["二泵站","变压器\n（2台）","10KV主变 630KVA 1台","√"]
[null,null,"10KV主变 800KVA 1台","√"]
[null,"高压柜（9面）","10KV高压柜9面 ","√","含电压感器和计量柜"]
[null,"电压互感器\n（2组）","1#电压互感器、避雷器","√"]
[null,null,"2#电压互感器、避雷器","√"]
[null,"计量柜\n（2组）","1#计量","√"]
[null,null,"2#计量","√"]
[null,"10KV电缆\n（4条）","10KV1#进线电缆（濮7）","√"]
[null,null,"10KV2#进线电缆（商1）","√"]
[null,null,"开关柜到1#变压器电缆","√"]
[null,null,"开关柜到2#变压器电缆","√"]
[null,"继电保护\n（4套）","1#进线（濮7）保护","√"]
[null,null,"2#进线（商1）保护","√"]
[null,null,"1#变压器保护","√"]
[null,null,"2#变压器保护","√"]
[null,"220V直流（1套）","直流电池组","√"]